## Slide 1: Module 9 Incident Response

## Slide 2: Lesson Objectives
List some common types of incidents that may occur in SCADA/ICS systems.
Identify the phases of an Incident Response, as described in NIST SP 800-61.
Define incident containment and describe how it is applied to an incident.
Discuss the IR reaction strategies unique to each category of incident.
Explain the components of an Incident Response Plan.
Identify the 14 response core capabilities covered in the National Response Framework.

## Slide 3: SCADA/ICS Common Incidents
NIST SP 800-82 Guide to Industrial Control Systems (ICS) Security, describes three broad categories of ICS incidents:
  Intentional targeted attacks, such as gaining unauthorized access to files, performing a DoS, or spoofing emails (i.e., forging the sender’s identity for an email)
  Unintentional consequences or collateral damage from worms, viruses, or control system failures
  Unintentional internal security consequences, such as inappropriate testing of operational systems or unauthorized system configuration changes
Of the three, targeted attacks are the least frequent but the most damaging.
Notes: From NIST SP 800-82 Guide to Industrial Control Systems (ICS) Security:
Control systems operation disrupted by delaying or blocking the flow of information through corporate or control networks, thereby denying availability of the networks to control system operators or causing information transfer bottlenecks or denial of service by IT-resident services (such as DNS)
Unauthorized changes made to programmed instructions in PLCs, RTUs, DCS, or SCADA controllers, alarm thresholds changed, or unauthorized commands issued to control equipment, which could potentially result in damage to equipment (if tolerances are exceeded), premature shutdown of processes (such as prematurely shutting down transmission lines), causing an environmental incident, or even disabling control equipment
Control system software or configuration settings modified, producing unpredictable results
Safety systems operation interfered with
Malicious software (e.g., virus, worm, trojan horse) introduced into the system

## Slide 4: Example of Intentional Attack
Maroochy Water Services Incident. In the spring of 2000, a former employee of an Australian organization that develops manufacturing software applied for a job with the local government but was rejected. Over a two-month period, the disgruntled rejected employee reportedly used a radio transmitter on as many as 46 occasions to remotely break into the controls of a sewage treatment system. He altered electronic data for particular sewerage pumping stations and caused malfunctions in their operations, ultimately releasing about 264,000 gallons of raw sewage into nearby rivers and parks.
— NIST SP 800-82
Notes: Additional information on the Maroochy Water Services Incident can be found at: http://www.theregister.co.uk/2001/10/31/hacker_jailed_for_revenge_sewage/.
“pipe-dune-sand-water-sea-waste-1721735” by quicksandala CC0 Public Domain via Pixabay. https://pixabay.com/en/pipe-dune-sand-water-sea-waste-1721735/

## Slide 5: Example of Unintentional Consequences
Davis-Besse. In August 2003, the Nuclear Regulatory Commission confirmed that in January 2003, the Microsoft SQL Server worm known as Slammer infected a private computer network at the idled Davis-Besse nuclear power plant in Oak Harbor, Ohio, disabling a safety monitoring system for nearly five hours. In addition, the plant’s process computer failed, and it took about six hours for it to become available again. Slammer reportedly also affected communications on the control networks of at least five other utilities by propagating so quickly that control system traffic was blocked.
— NIST SP 800-82
Notes: Slammer spread at a rate 250 times faster than Code Red, scanning approximately 55 million systems per second within 3 minutes of its release, doubling its rate of infection every 8.5 seconds. Within 10 minutes, 90% of vulnerable hosts were infected worldwide.
Additional information on the Davis-Besse incident can found at http://www.securityfocus.com/news/6767.

## Slide 6: Example of Unintentional Internal Security Consequences
Penetration testing incident. A natural gas utility hired an IT security consulting organization to conduct penetration testing on its corporate IT network. The consulting organization carelessly ventured into a part of the network that was directly connected to the SCADA system. The penetration test locked up the SCADA system, and the utility was not able to send gas through its pipelines for four hours. The outcome was the loss of service to its customer base for those four hours.
— NIST SP 800-82
Notes: This is the same incident as was mentioned on Slide 29 of the PowerPoint presentation for Lesson 6, Vulnerabilities.
“Wildflowers And Pipeline” by Ken Kistler via publicdomainpictures.net. http://www.publicdomainpictures.net/view-image.php?image=88047&picture=polne-kwiaty-i-pipeline CC0 1.0 https://creativecommons.org/publicdomain/zero/1.0/

## Slide 7: Incident Response Phases
NIST SP 800-61 Computer Security Incident Handling Guide
Notes: Figure 3-1. Incident Response Life Cycle
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf.
This figure, from NIST’s SP 800-61 Computer Security Incident Handling Guide, describes the phases involved with incident response. The initial phase involves establishing and training an incident response team, and acquiring the necessary tools and resources. During preparation, the organization also attempts to limit the number of incidents that will occur by selecting and implementing a set of controls based on the results of risk assessments. However, residual risk will inevitably persist after controls are implemented. Detection of security breaches is thus necessary to alert the organization whenever incidents occur. In keeping with the severity of the incident, the organization can mitigate the impact of the incident by containing it and ultimately recovering from it. During this phase, activity often cycles back to detection and analysis—for example, to see if additional hosts are infected by malware while eradicating a malware incident. After the incident is adequately handled, the organization issues a report that details the cause and cost of the incident and the steps the organization should take to prevent future incidents.

## Slide 8: Incident Response Phases — Preparation
Emphasizes both preparation (developing Incident Response Plan) and capabilities (team, etc.) but also prevention.
Preparation includes:
  Communication equipment and processes for team members (war room, secure storage facility)
  Investigation hardware and software (forensic software, protocol analyzers, assembled “jump kit,” forensic workstation)
  Analysis resources (current baselines, authorized ports and protocols, asset inventories, cryptographic hashes of critical files)
  Incident mitigation software (approved images and clean OS, and applications for restoration)
Notes: Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf.
From the SP 800-61: “Many incident response teams create a jump kit, which is a portable case that contains materials that may be needed during an investigation. The jump kit should be ready to go at all times. Jump kits contain many of the same items listed in the bulleted lists above. For example, each jump kit typically includes a laptop, loaded with appropriate software (e.g., packet sniffers, digital forensics). Other important materials include backup devices, blank media, and basic networking equipment and cables. Because the purpose of having a jump kit is to facilitate faster responses, the team should avoid borrowing items from the jump kit.
Each incident handler should have access to at least two computing devices (e.g., laptops). One, such as the one from the jump kit, should be used to perform packet sniffing, malware analysis, and all other actions that risk contaminating the laptop that performs them. This laptop should be scrubbed and all software reinstalled before it is used for another incident. Note that because this laptop is for a special purpose, it is likely to use software other than the standard enterprise tools and configurations. Whenever possible, the incident handlers should be allowed to specify basic technical requirements for these special-purpose investigative laptops. In addition to an investigative laptop, each incident handler should also have a standard laptop, smart phone, or other computing device for writing reports, reading email, and performing other duties unrelated to the hands-on incident analysis.
Exercises involving simulated incidents can also be very useful for preparing staff for incident handling; see NIST SP 800-84 for more information on exercises and Appendix A for sample exercise scenarios. “

## Slide 9: Incident Response Phases — Prevention
Prevention also includes:
  Risk assessments – Perform periodic risk assessments of systems and applications, prioritizing risk mitigation activities according to criticality.
  Host security – Harden (secure) hosts to standard configuration, using the “principle of least permission.”
  Network security – Secure the network perimeter to deny all unauthorized approved connections.
  Malware prevention – Deploy antivirus software at severs and hosts (as well as on applications, such as email serves and web proxies).
  User awareness and training – Train over policies and procedures.
Notes: Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf
From the SP 800-61:
Risk Assessments. Periodic risk assessments of systems and applications should determine what risks are posed by combinations of threats and vulnerabilities.25 This should include understanding the applicable threats, including organization-specific threats. Each risk should be prioritized, and the risks can be mitigated, transferred, or accepted until a reasonable overall level of risk is reached. Another benefit of conducting risk assessments regularly is that critical resources are identified, allowing staff to emphasize monitoring and response activities for those resources.
Host Security. All hosts should be hardened appropriately using standard configurations. In addition to keeping each host properly patched, hosts should be configured to follow the principle of least privilege—granting users only the privileges necessary for performing their authorized tasks. Hosts should have auditing enabled and should log significant security-related events. The security of hosts and their configurations should be continuously monitored. Many organizations use Security Content Automation Protocol (SCAP) 28 expressed operating system and application configuration checklists to assist in securing hosts consistently and effectively.
Network Security. The network perimeter should be configured to deny all activity that is not expressly permitted. This includes securing all connection points, such as virtual private networks (VPNs) and dedicated connections to other organizations.
Malware Prevention. Software to detect and stop malware should be deployed throughout the organization. Malware protection should be deployed at the host level (e.g., server and workstation operating systems), the application server level (e.g., email server, web proxies), and the application client level (e.g., email clients, instant messaging clients).
User Awareness and Training. Users should be made aware of policies and procedures regarding appropriate use of networks, systems, and applications. Applicable lessons learned from previous incidents should also be shared with users so they can see how their actions could affect the organization. Improving user awareness regarding incidents should reduce the frequency of incidents. IT staff should be trained so that they can maintain their networks, systems, and applications in accordance with the organization’s security standards.

## Slide 10: Detection and Analysis Visual Overview
NIST SP 800-61, Computer Security Incident Handling Guide
Notes: Figure 3-2. Incident Response Life Cycle (Detection and Analysis)
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf.
Organizations should be prepared to handle any incident; however, they should emphasize training on incidents that use common attack vectors or were identified in the risk assessment as being more likely to occur or have a greater impact if they did occur. Common attack vectors include:
External/Removable Media: An attack executed from removable media or a peripheral device—for example, malicious code spreading onto a system from an infected USB flash drive.
Attrition: An attack that employs brute force methods to compromise, degrade, or destroy systems, networks, or services (e.g., a DDoS intended to impair or deny access to a service or application; a brute force attack against an authentication mechanism, such as passwords, CAPTCHAS, or digital signatures).
Web: An attack executed from a website or web-based application—for example, a cross-site scripting attack used to steal credentials or a redirect to a site that exploits a browser vulnerability and installs malware.
Email: An attack executed via an email message or attachment—for example, exploit code disguised as an attached document or a link to a malicious website in the body of an email message.
Impersonation: An attack involving replacement of something benign with something malicious. For example, spoofing, Man-in-the-Middle attacks, rogue wireless access points, and SQL injection attacks all involve impersonation.
Improper Usage: Any incident resulting from violation of an organization’s acceptable usage policies by an authorized user, excluding the above categories; for example, a user installs file sharing software, leading to the loss of sensitive data, or a user performs illegal activities on a system.
Loss or Theft of Equipment: The loss or theft of a computing device or media used by the organization, such as a laptop, smartphone, or authentication token.
Other: An attack that does not fit into any of the other categories.

## Slide 11: Incident Response Phases – Detection Challenges
Challenges to accurately detecting that an incident has occurred include:
  Large number of detection methods, including network- or host-based IDS/IPSs, antivirus software, firewalls, protocol analyzers, etc., reporting using different formats that may not be easily aggregated.
  Signs of potential signs of incidents can be high (IDSs may receive thousands or even millions of intrusion detection sensor alerts per day).
  Deep, specialized technical knowledge and extensive experience required for efficient analysis of incident-related data
Notes: NIST SP 800-61 Computer Security Incident Handling Guide:
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf.

## Slide 12: Incident Response Phases — Detection Precursors
Signs of an incident fall under two categories: precursors and indicators.
A precursor is a sign that an incident may occur in the future. Examples of precursors include:
  Log entries that show usage of vulnerability scanners
  Announcements of software vulnerabilities in use
  Threats from groups stating they will attack the organization
Notes: NIST SP 800-61, Computer Security Incident Handling Guide:
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf.

## Slide 13: Incident Response Phases — Detection Indicators
Signs of an incident fall under two categories: precursors and indicators.
An indicator is a sign that an incident may have occurred or may be occurring now. Examples of indicators include:
  IDS sensors alert to buffer overflow or SQL injection attacks against a server
  Antivirus software detects malware
  Filenames with unusual characters
  Missing records in audit logs
  Failed login attempts
  Bounced emails with suspicious content
  Unusual traffic flows
Notes: NIST SP 800-61, Computer Security Incident Handling Guide:
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf.

## Slide 14: Incident Response Phases – Detection Alerts
Common Sources of Precursors and Indicators: Alerts
Source | Description
Intrusion Detection and Prevention Systems (IDPSs) | IDPSs identify suspicious events and record date and time of the attack, type of attack, source and destination IP addresses, and username
Security Information and Event Management (SIEM) | Similar to IDPS, but generate alerts on aggregated log data
Antivirus and antispam software | Malware, spam
File and integrity checking software | Detects changes made to files
Third-party monitoring services | Subscription-based and free monitoring services (fraud detection services that notify if an IP address, domain name, etc. is associated with current activity)
Notes: NIST SP 800-61, Computer Security Incident Handling Guide:
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf. Table 3-1. Common Sources of Precursors and Indicators.

## Slide 15: Incident Response Phases – Detection Logs
Common Sources of Precursors and Indicators Logs & Publically Available Information
Source | Description
Operating system, application, service logs | Audit-related data recording what was accessed, accounts used, actions performed
Network device logs | Logs from firewalls, routers that can indicate trends or correlate events
Network flows | Communication session between hosts
Information on new vulnerabilities and exploits | The National Vulnerability Database (NVD) contains information on vulnerabilities.32 Organizations such as US-CERT33 and CERT®/CC periodically provide threat update information through briefings, web postings, and mailing lists.
Notes: NIST SP 800-61, Computer Security Incident Handling Guide:
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf. Table 3-1. Common Sources of Precursors and Indicators.

## Slide 16: Incident Response Phases – Detection People
Common Sources of Precursors and Indicators: People
Source | Description
People from within the organization | Users, system administrators, network administrators, security staff, and others from within the organization may report signs of incidents.
People from other organizations | The organization might be contacted by a party claiming a system at the organization is attacking its systems. External users may also report other indicators, such as a defaced web page or an unavailable service. Other incident response teams also may report incidents.
Notes: NIST SP 800-61, Computer Security Incident Handling Guide:
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf. Table 3-1. Common Sources of Precursors and Indicators.

## Slide 17: Incident Response Phases – Analysis
The Incident Response Team should work quickly to analyze and validate incidents, following a predefined process and documenting each step taken.
When the team believes that an incident has occurred, the team should rapidly perform an initial analysis to determine the incident’s scope, such as which networks, systems, or applications are affected; who or what originated the incident; and how the incident is occurring (e.g., what tools or attack methods are being used, what vulnerabilities are being exploited).
The initial analysis should provide enough information for the team to prioritize subsequent activities, such as containment of the incident and deeper analysis of the effects of the incident.
Logbooks, laptops, audio recorders, and digital cameras can be used to document the response.
Notes: NIST SP 800-61, Computer Security Incident Handling Guide:
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf.
The issue tracking system should contain information on the following:
The current status of the incident (new, in progress, forwarded for investigation, resolved, etc.)
A summary of the incident
Indicators related to the incident
Other incidents related to this incident
Actions taken by all incident handlers on this incident
Chain of custody, if applicable
Impact assessments related to the incident
Contact information for other involved parties (e.g., system owners, system administrators)
A list of evidence gathered during the incident investigation
Comments from incident handlers
Next steps to be taken (e.g., rebuild the host, upgrade an application)

## Slide 18: Incident Response Phases – Analysis (cont.)
Prioritization is the most critical decision point in the process. Decisions are based on
  Functional impact of the incident
  Information impact of the incident
  Recoverability from the incident
Organizations should identify target timeframes for response and establish an escalation process for instances in which the team responds within the designated time.
Incident response times should identify the appropriate individuals who would need to be involved on the team.
Notes: NIST SP 800-61, Computer Security Incident Handling Guide:
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf.
Functional impact of the incident. Incidents targeting IT systems typically impact the business functionality that those systems provide, resulting in some type of negative impact to the users of those systems. Incident handlers should consider how the incident will impact the existing functionality of the affected systems. Incident handlers should consider not only the current functional impact of the incident but also the likely future functional impact of the incident if it is not immediately contained.
Information impact of the incident. Incidents may affect the confidentiality, integrity, and availability of the organization’s information. For example, a malicious agent may exfiltrate sensitive information. Incident handlers should consider how this information exfiltration will impact the organization’s overall mission. An incident that results in the exfiltration of sensitive information may also affect other organizations if any of the data pertain to a partner organization.
Recoverability from the incident. The size of the incident and the type of resources it affects will determine the amount of time and resources that must be spent on recovering from that incident. In some instances it is not possible to recover from an incident (e.g., if the confidentiality of sensitive information has been compromised) and it would not make sense to spend limited resources on an elongated incident handling cycle, unless that effort was directed at ensuring that a similar incident did not occur in the future. In other cases, an incident may require far more resources to handle than what an organization has available. Incident handlers should consider the effort necessary to actually recover from an incident and carefully weigh that against the value the recovery effort will create and any requirements related to incident handling.

## Slide 19: Incident Response Phases – Containment
NIST SP 800-61, Computer Security Incident Handling Guide
Notes: Figure 3-3. Incident Response Life Cycle (Containment, Eradication, and Recovery)
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf. Figure 3-3. Incident Response Life Cycle (Containment, Eradication, and Recovery).
Containment is important before an incident overwhelms resources or increases damage. Most incidents require containment, so that is an important consideration early in the course of handling each incident. Containment provides time for developing a tailored remediation strategy. An essential part of containment is decision-making (e.g., shut down a system, disconnect it from a network, disable certain functions). Such decisions are much easier to make if there are predetermined strategies and procedures for containing the incident. Organizations should define acceptable risks in dealing with incidents and develop strategies accordingly.

## Slide 20: Incident Response Phases — Containment Strategies
Strategies will differ depending on the type of incident and will include consideration of the following criteria:
  Potential damage to and theft of resources
  Need for evidence preservation
  Service availability (e.g. network connectivity, services provided)
  Time and resources needed to implement the strategy
  Effectiveness of the strategy (partial containment)
  Duration of the solution (is it an emergency workaround or permanent solution?)
Be aware that some attacks may cause additional damage when they are contained (e.g., deletion of files).
Notes: NIST SP 800-61, Computer Security Incident Handling Guide:
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf.

## Slide 21: Incident Response Phases — Containment Evidence
Evidence Gathering and Handling
  Evidence should be gathered as soon as possible after a suspected incident
  Maintain a “chain of custody” and logs containing the following:
    Identifying information (e.g., the location, serial number, model number, hostname, media access control (MAC) addresses, and IP addresses of a computer)
    Name, title, and phone number of each individual who collected or handled the evidence during the investigation
    Time and date (including time zone) of each occurrence of evidence handling
    Locations where the evidence was stored.
Notes: NIST SP 800-61, Computer Security Incident Handling Guide:
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf.

## Slide 22: Incident Response Phases — Containment Identification
Identifying Attacking Hosts
  Validate the attacker’s IP address
  Research the attacking host through search engines
  Use incident databases and threat intelligence sources
  Monitor possible attacker communication channels
Notes: NIST SP 800-61, Computer Security Incident Handling Guide:
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf.
Validate the attacking host’s IP address. New incident handlers often focus on the attacking host’s IP address. The handler may attempt to validate that the address was not spoofed by verifying connectivity to it; however, this simply indicates that a host at that address does or does not respond to the requests. A failure to respond does not mean the address is not real—for example, a host may be configured to ignore pings and traceroutes. Also, the attacker may have received a dynamic address that has already been reassigned to someone else.
Research the attacking host through search engines. Performing an Internet search using the apparent source IP address of an attack may lead to more information on the attack—for example, a mailing list message regarding a similar attack.
Use incident databases and threat intelligence sources. Several groups collect and consolidate incident data from various organizations into incident databases. This information-sharing may take place in many forms, such as trackers and real-time blacklists. The organization can also check its own knowledge base or issue tracking system for related activity.
Monitor possible attacker communication channels. Incident handlers can monitor communication channels that may be used by an attacking host. For example, many bots use IRC as their primary means of communication. Also, attackers may congregate on certain IRC channels to brag about their compromises and share information. However, incident handlers should treat any such information that they acquire only as a potential lead, not as fact.

## Slide 23: Incident Response Phases — Containment Recovery
Eradication and Recovery
  Eradication eliminates components of the incident (deleting malware and disabling breached accounts, identifying and mitigating all vulnerabilities that were exploited)
  During recovery, systems are restored to normal operation and validated that they are functioning normally
  Should be done in a phased approach and could be long-term, ensuring that changes are made to increase overall security and prevent future incidents
Notes: NIST SP 800-61, Computer Security Incident Handling Guide:
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf.

## Slide 24: Incident Response Phases – Post-Incident Activity
NIST SP 800-61, Computer Security Incident Handling Guide
Notes: NIST SP 800-61, Computer Security Incident Handling Guide:
Figure 3-4. Incident Response Life Cycle (Post-Incident Activity)
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf. Figure 3-4. Incident Response Life Cycle (Post-Incident Activity).

## Slide 25: Incident Response Phases – Post-Incident Activity Lessons Learned
Team should meet to discuss “lessons learned” after the end of the incident, addressing the following:
  Exactly what happened, and at what times?
  How well did staff and management perform in dealing with the incident? Were the documented procedures followed? Were they adequate?
  What information was needed sooner?
  Were any steps or actions taken that might have inhibited the recovery?
  What would the staff and management do differently the next time a similar incident occurs?
  How could information sharing with other organizations have been improved?
  What corrective actions can prevent similar incidents in the future?
  What precursors or indicators should be watched for in the future to detect similar incidents
  What additional tools or resources are needed to detect, analyze, and mitigate future incidents?
Notes: NIST SP 800-61, Computer Security Incident Handling Guide:
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf.

## Slide 26: Incident Response Phases – Post-Incident Activity Incident Data & Retention
Using Collected Incident Data
Collected data should be used to trend costs, response time, and other actionable metrics. Possible metrics include:
  Number of incidents handled
  Time per incident
  Objective assessment of each incident
  Subjective assessment of each incident
Evidence Retention
Organizations should establish a policy addressing how long evidence should be retained, based on the possibility of prosecution and regulations governing data retention.
Notes: NIST SP 800-61, Computer Security Incident Handling Guide:
Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf.
Number of incidents handled. Handling more incidents is not necessarily better—for example, the number of incidents handled may decrease because of better network and host security controls, not because of negligence by the incident response team. The number of incidents handled is best taken as a measure of the relative amount of work that the incident response team had to perform, not as a measure of the quality of the team, unless it is considered in the context of other measures that collectively give an indication of work quality. It is more effective to produce separate incident counts for each incident category. Subcategories also can be used to provide more information. For example, a growing number of incidents performed by insiders could prompt stronger policy provisions concerning background investigations for personnel and misuse of computing resources and stronger security controls on internal networks (e.g., deploying intrusion detection software to more internal networks and hosts).
Time per incident. For each incident, time can be measured in several ways:
  Total amount of labor spent working on the incident;
  Elapsed time from the beginning of the incident to incident discovery, to the initial impact assessment, and to each stage of the incident handling process (e.g., containment, recovery);
  How long it took the incident response team to respond to the initial report of the incident
  How long it took to report the incident to management and, if necessary, appropriate external entities (e.g., US-CERT).
Objective assessment of each incident. The response to an incident that has been resolved can be analyzed to determine how effective it was. The following are examples of performing an objective assessment of an incident:
  – Reviewing logs, forms, reports, and other incident documentation for adherence to established incident response policies and procedures
  – Identifying which precursors and indicators of the incident were recorded to determine how effectively the incident was logged and identified
  – Determining if the incident caused damage before it was detected
  – Determining if the actual cause of the incident was identified, and identifying the vector of attack, the vulnerabilities exploited, and the characteristics of the targeted or victimized systems, networks, and applications
  – Determining if the incident is a recurrence of a previous incident
  – Calculating the estimated monetary damage from the incident (e.g., information and critical business processes negatively affected by the incident)
  – Measuring the difference between the initial impact assessment and the final impact assessment
  – Identifying which measures, if any, could have prevented the incident.
Subjective assessment of each incident. Incident response team members may be asked to assess their own performance, as well as that of other team members and of the entire team. Another valuable source of input is the owner of a resource that was attacked, in order to determine if the owner thinks the incident was handled efficiently and if the outcome was satisfactory.
Besides using these metrics to measure the team’s success, organizations may also find it useful to periodically audit their incident response programs. Audits will identify problems and deficiencies that can then be corrected. At a minimum, an incident response audit should evaluate the following items against applicable regulations, policies, and generally accepted practices:
Incident response policies, plans, and procedures
Tools and resources
Team model and structure
Incident handler training and education
Incident documentation and reports
The measures of success discussed earlier in this section.

## Slide 27: Incident Response Resources
The National Institute of Standards and Technology (NIST) has developed several guides and publications addressing cybersecurity in general and incident response in particular. Several specific documents on incident handling and response include:
NIST SP 800-40, Creating a Patch and Vulnerability Management Program
NIST SP 800-61, Computer Security Incident Handling Guide
NIST SP 800-83, Guide to Malware Incident Prevention and Handling
NIST SP 800-86, Guide to Integrating Forensic Techniques into Incident Response
NIST SP 800-92, Guide to Computer Security Log Management
While these documents have a traditional IT orientation, they provide guidance for implementing ICS incident response policies and procedures as well.
Notes: Cichonski, P., Millar, T., Grance, T., & Scarfone, K. (2012). Computer Security Incident Handling Guide : Recommendations of the National Institute of Standards and Technology (No. NIST SP 800-61r2). National Institute of Standards and Technology, U.S. Dept. of Commerce. Retrieved from http://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-61r2.pdf.

## Slide 28: ICS Cyber Incident Response Plan
DHS ICS-CERT is chartered to reduce risks across all critical infrastructure sectors and works with the U.S. Computer Emergency Readiness Team (US-CERT), but with an ICS focus. The organization provides products and services to reduce security risks to ICS asset owners, including best practices, self assessment tools, ICS security documents, and incident response guidance.
The ICS Cyber Incident Response Plan presents recommendations to help those facilities that use control systems better prepare for and respond to cyber incidents, regardless of source. The document also suggests ways to learn from incidents and to strengthen systems against potential attacks. The document includes accepted methods and approaches from tradition information technology, but it is primarily focused on the unique aspects of industrial control systems
The ICS Cyber Incident Response Plan document augments the NIST SP 800-61 document to provide ICS-specific response recommendations, including recommendations for building the Cyber Incident Response Plan.
Notes: Department of Homeland Security. Developing an Industrial Control Systems Cybersecurity Incident Response Capability - final. Published October 2009. Retrieved December 7, 2016, from https://ics-cert.us-cert.gov/sites/default/files/recommended_practices/final-RP_ics_cybersecurity_incident_response_100609.pdf/
The Department of Homeland Security ICS-CERT is chartered to reduce control system cybersecurity risks within and across all critical infrastructure sectors. This program works in coordination with the DHS-created United States Computer Emergency Readiness Team (US-CERT) with regard to cybersecurity but with an ICS focus. Supporting the ICS-CERT are expert staff that are familiar with vulnerabilities, intrusion techniques and tools, and methods to prevent or mitigate ICS incidents. They are current on cyber attack methods and preventive techniques. In addition, the Control Systems Security Program (CSSP) provides products and services to reduce security risks to ICS asset owners. Other products and services include recommended practices, self assessment tools, ICS security documents, procurement recommendations, and standards support. CSSP information can be found at
http://www.us-cert.gov/control_systems/index.html.

## Slide 29: Creating the ICS Cyber Incident Response Plan
The following sections should be included when creating an Incident Response Plan:
Section | Content
1. Overview, Goals, and Objectives | Provides guidance for the overall business objective in comparison to the response options to the incident
2. Incident Description | Classification of different incident types (Denial-of-Service, unauthorized access, website defacement, etc.)
3. Incident Detection | Addresses the way an ICS incident is identified and reported and will include any automated analysis tools, system behavior patterns, and an awareness of what to look for among operators, supervisors, and other staff.
Notes: With ICS, differentiating between cyber-based incidents and those caused by other sources is critical. For example, the reaction to equipment damaged by a disgruntled employee with a crowbar would be vastly different than damage to the same piece of equipment caused by an unknown attacker who manipulated controls on the equipment. It’s important to identify and define each incident type so that the appropriate response can be followed for that unique situation.
https://ics-cert.us-cert.gov/sites/default/files/recommended_practices/final-RP_ics_cybersecurity_incident_response_100609.pdf
Department of Homeland Security. Developing an Industrial Control Systems Cybersecurity Incident Response Capability - final. Published October 2009. Retrieved December 7, 2016, from https://ics-cert.us-cert.gov/sites/default/files/recommended_practices/final-RP_ics_cybersecurity_incident_response_100609.pdf.

## Slide 30: Creating the ICS Cyber Incident Response Plan (cont. 1)
Section | Content
4. Incident Notification | This section should address how an event is prioritized to determine the cause and criticality, and possible immediate escalation. It should include contact information for IR Team members, regulatory authorities, and ICS-CERT/US-CERT.
5. Incident Analysis | Addresses how to evaluate and analyze a reported incident, including its potential to spread to other systems.
6. Response Actions | Defines the procedures that staff will follow for each type of detected incident.
7. Communications | Should include all contacts (media, emergency responders, civil authorities) and a POC who can speak for the organization, as well as a list of alternate physical methods to handle impaired communications.
Notes: Information included in the table, is located on pages 10-12, Department of Homeland Security. Developing an Industrial Control Systems Cybersecurity Incident Response Capability - final. Published October 2009. Retrieved December 7, 2016, from https://ics-cert.us-cert.gov/sites/default/files/recommended_practices/final-RP_ics_cybersecurity_incident_response_100609.pdf. Note to instructors: Students can reference the full document and familiarize themselves with the details that would be included in the plan.
Department of Homeland Security. Developing an Industrial Control Systems Cybersecurity Incident Response Capability - final. Published October 2009. Retrieved December 7, 2016, from https://ics-cert.us-cert.gov/sites/default/files/recommended_practices/final-RP_ics_cybersecurity_incident_response_100609.pdf.

## Slide 31: Creating the ICS Cyber Incident Response Plan (cont. 2)
Section | Content
8. Forensics | This section should address the process for collecting, examining, and analyzing incident data, as well as protecting incriminating evidence for use in possible legal action. Recommended practices specific to ICS can be found at “Recommended Practice: Creating Cyber Forensics Plans for Control Systems,” August 25, 2008, Control Systems Security Program (CSSP), Department of Homeland Security at the US-CERT website.
9. Additional Sections | The areas mentioned above are essential elements of the incident response plan. The plan may be divided into more detailed topics, if desired, and may include other sections, such as incident tracking and reporting, as necessary.
Notes: https://ics-cert.us-cert.gov/sites/default/files/recommended_practices/final-RP_ics_cybersecurity_incident_response_100609.pdf. Note to instructors: Students can reference the full document and familiarize themselves with the details that would be included in the plan.
Department of Homeland Security. Developing an Industrial Control Systems Cybersecurity Incident Response Capability - final. Published October 2009. Retrieved December 7, 2016, from https://ics-cert.us-cert.gov/sites/default/files/recommended_practices/final-RP_ics_cybersecurity_incident_response_100609.pdf.

## Slide 32: Exercising the Incident Response Plan
Incident Response Plans should be exercised on a periodic basis in order to identify weak areas that can be improved and to train staff on response procedures.
Partial testing can be performed prior to a full test; it can serve as a good training exercise for IR Team members without risking the possible disruption of a full test.
Exercises should mimic real-world scenarios and simulate worst-case scenarios. The drill should involve all staff who would be involved in the response.
Drills should be held periodically as staff change, changes in the facility or equipment occur, or new threats are identified.
Notes: https://ics-cert.us-cert.gov/sites/default/files/recommended_practices/final-RP_ics_cybersecurity_incident_response_100609.pdf
Department of Homeland Security. Developing an Industrial Control Systems Cybersecurity Incident Response Capability - final. Published October 2009. Retrieved December 7, 2016, from https://ics-cert.us-cert.gov/sites/default/files/recommended_practices/final-RP_ics_cybersecurity_incident_response_100609.pdf.

## Slide 33: National Response Framework
In addition to how a company response to its own incident, consideration should be given to how our nation responds to disasters and emergencies.
DHS’s National Response Framework describes specific authorities and best practices for managing incidents, such as large-scale terrorist attacks or catastrophic national disasters.
The National Response Framework (pdf) is a living document, always in effect, and elements can be implemented at any time.

## Slide 34: National Response Framework: Core Capabilities
14 Response Core Capabilities are identified – 11 that apply to response and 3 that are common to all five mission areas: Prevention, Protection, Mitigation, Response, and Recovery.
Core Capability | Objective Summaries
1. Planning (common to all mission areas) | Engage the community in the development of strategic, operational, community-based response approaches.
2. Public Information and Warning (common to all mission areas) | Deliver coordinated, prompt, reliable, and actionable information to the entire community, relaying information on threats and hazards.
Notes: Core capabilities are distinct critical elements necessary to achieve the goal. They provide a common vocabulary describing the significant functions that must be developed and executed across the whole community to ensure national preparedness.
Three response core capabilities—Planning, Public Information and Warning, and Operational Coordination—span all five mission areas. These common core capabilities are essential to the success of the other core capabilities. They help establish unity of effort among all those involved in the Response mission area.
Planning. Planning makes it possible to manage the life cycle of a potential crisis, determine capability requirements, and help stakeholders learn their roles. It includes the collection, analysis, and dissemination of risk assessment data and the development of plans, procedures, mutual aid and assistance agreements, strategies, and other arrangements to perform specific missions and tasks. Governments at all levels have a responsibility to develop all-hazards response plans prior to and during an incident. Including a broad range of partners in the planning process helps ensure that the needs and potential contributions of all elements are integrated into workable plans.
Public Information and Warning. For an effective response, jurisdictions must provide accurate and accessible information to decision-makers and the public. This includes development of accessible message content, such as incident facts, health risk warnings, pre-incident recommendations, evacuation guidance, and other protective measures. It also includes developing strategies for when, where, how, and by whom information will be delivered and ensuring that all levels of government agree on unified messages. Information must be shared with the public and other members of the response community efficiently, effectively, and in an accessible manner. Effective public information and warning is particularly important in dealing with incidents that start small but may evolve to have greater consequences.
Operational Coordination. For incident response, coordination of operations must occur both among those tasked to deliver the various response core capabilities and with those delivering the core capabilities of other mission areas. This coordination occurs through response structures based on clearly established roles, responsibilities, and reporting protocols. Using NIMS principles, structures, and coordinating processes enhances the efficiency and effectiveness of response. Specific actions to achieve this core capability may include coordinating initial actions, managing ESFs, coordinating requests for additional support, and identifying and integrating resources and capabilities.

## Slide 35: National Response Framework: Core Capabilities (cont. 1)
Core Capability | Objective Summaries
3. Operational Coordination (common to all mission areas) | Establish and maintain a unified and coordinated operational structure and process.
4. Critical Transportation | Provide transportation for response objectives (including evacuation of people and animals, and delivery of response personnel to affected areas.
5. Environmental Response/Health and Safety | Ensure the availability of guidance and resources to address all hazards.
6. Fatality Management Services | Body recovery and victim identification services, temporary mortuary solutions, sharing information with Mass Care Services for reunifying family members and caregivers with missing persons/remains and providing counseling to the bereaved.

## Slide 36: National Response Framework: Core Capabilities (cont. 2)
Core Capability | Objective Summaries
7. Infrastructure Systems (cross-cutting with Recovery mission area) | Stabilize critical infrastructure functions, minimize health and safety threats, and restore and vitalize systems and services to support a viable, resilient community
8. Mass Care Services | Provide life-sustaining services to the affected population with a focus on hydration, feeding, and sheltering to those with the most need, as well as support for reunifying families
9. Mass Search and Rescue Operations | Deliver search and rescue capabilities, providing personnel, services, animals, and assets – with the goal of saving the greatest number of endangered lives in the shortest time possible
10. On-Scene Security and Protection | Provide law enforcement and related security and protection operations for people and communities in affected areas

## Slide 37: National Response Framework: Core Capabilities (cont. 3)
Core Capability | Objective Summaries
11. Operational Communications | Ensure the capacity for timely communications.
12. Public and Private Services and Resources | Provide essential public and private services and resources to the affected population, including emergency power to critical facilities, fuel support for emergency responders, and access to community staples (grocery stores, pharmacies, and banks) and fire and other first response services
13. Public Health and Medical Services | Provide lifesaving medical treatment via emergency medical services and related operations.
14. Situational Assessment | Provide all decision-makers with decision-relevant information regarding the nature and extent of the hazard, and any cascading effects, and the status of the response.